## Slide 1: Energy ressources, conversion and distribution Solar technology
Dr Sylvain Serra
Associate Professor
ENSGTI-LATEP
Office 314 (3th floor)
 +33 5 40 17 51 36
 sylvain.serra@univ-pau.fr
2019-2020

## Slide 2
Introduction

## Slide 3
Introduction
Electricity
Thermal
PhotoVoltaic
PV
Concentrating Solar Power (CSP)
PV-T
Solar cooker
Solar Heating and Cooling
SHC

## Slide 4
Solar thermal technologies
The market:
IEA : Renewables 2018

## Slide 5
Solar thermal technologies
The market:
Total energy consumption
Not Heat
Industrial heat
Space and water heating
Agriculture use

## Slide 6
Solar thermal technologies
IEA : Renewables 2018
2018-2023
2017
The market:

## Slide 7
Solar thermal technologies
Market VS Irradiation:
Germany: 146 Wth/inh.
France : 24 Wth/inh.

## Slide 8
Solar thermal technologies
2) Thermodynamic solar system
Conclusions and prospects

## Slide 9
Solar thermal technologies
Source: Solar Energy Perspectives, IEA 2011

## Slide 10
Solar thermal technologies
« Low temperature » solar collector
Uncovered solar collector
Flate plate solar collector
(DWH, building heating)
Evacuated tube solar collector
(… + solar chiller,
industrial application)
INCREASE : - T°C Level
- Efficiency
- Price

## Slide 11
Solar thermal technologies
Source: Solar Energy Perspectives, IEA 2011

## Slide 12
Solar thermal technologies
Active solar heating
Source: Papillon P., Plateforme technologie de l’AIE, 2012
http://www.iea.org/media/technologyplatform/workshops/solarenergyinmoroccooriental/PhilippePapillon.pdf

## Slide 13
Solar thermal technologies
Active solar heating

## Slide 14
Solar thermal technologies
District heating network
Braedstrup (Danemark)
Built in 2007
Supply 1 400 houses
8 000 m² of solar collector with centralized production centralisée
Combined with CHP power plant
Storage (Eau) : 2000 m3
Solar fraction => 20%

## Slide 15
Solar thermal technologies
Where is the district heating system with best solar fraction ?

## Slide 16
Solar thermal technologies
District heating network
Source: http://www.dlsc.ca/
Source: http://www.maps.google.ca/
Drake Landing Solar Community (Canada)

## Slide 17
Solar thermal technologies
District heating network
Drake Landing Solar Community (Canada)
Build in 2007
Supply 52 house
2 300 m² of solar collector
Centralized production
Two storage systems
  Short term, water240 m3
  Long term, borehole 37m
The solar energy system is currently surpassing its 7 year performance goal of 90% solar fraction.

## Slide 18
Solar thermal technologies
District heating network

## Slide 19
Solar thermal technologies
District heating with seasonnal heat storage
GWTES:

## Slide 20
Solar thermal technologies
District heating with seasonnal heat storage

## Slide 21
Solar thermal technologies
District heating with seasonnal heat storage

## Slide 22
Solar thermal technologies
District heating with seasonnal heat storage
World records:
Solar 71,000 m2 (largest, so far, Chile 39,000 m2, 2 DK plants 33,000 / 36,000 m2, Riyadh 35,000 m2)
Pit heat storage, 205,000 m3. (largest, so far, Marstal, 75,000 m3)
Vojens District Heating:

## Slide 23
Solar thermal technologies
District heating with seasonnal heat storage
Vojens District Heating:

## Slide 24
Solar thermal technologies
District heating with seasonnal heat storage
Vojens District Heating:

## Slide 25
Solar thermal technologies
District heating with seasonnal heat storage
Vojens District Heating:

## Slide 26
Solar thermal technologies
District heating with seasonnal heat storage
Vojens District Heating:

## Slide 27
Solar thermal technologies
District heating with seasonnal heat storage
Vojens District Heating:

## Slide 28
Solar thermal technologies
District heating with seasonnal heat storage
Vojens District Heating:

## Slide 29
Solar thermal technologies
District heating with seasonnal heat storage
Vojens District Heating:

## Slide 30
Solar thermal technologies

## Slide 31
Solar thermal technologies
Industrial processes

## Slide 32
Solar thermal technologies
Solar thermal energy potential is huge in the following process !
www.ansole.org/download/webinar/solar process heat.pdf

## Slide 33
Solar thermal technologies
Components are similar to SDHW system (just the size differs)

## Slide 34
Solar thermal technologies
Industrial processes
Case study: Hofmühl brewery, Eichstätt Allemagne
835 m2 Solar collector,
Two 55 m3 storage tank

## Slide 35
Solar thermal technologies
Industrial processes
Case study: Milk factory in Zurich
  - 115 m2 PT
  - Thermal oil (200°C) to preheat steam

## Slide 36
Solar thermal technologies
NewHeat
4200 m²
3,4 MW

## Slide 37
Solar thermal technologies
Industrial processes
More info
http://task49.iea-shc.org/

## Slide 38
Solar thermal technologies
Solar cooling
P
T
Evaporator
Condenser
Compressor
Wc
Qe
Qc

## Slide 39
Solar thermal technologies
Solar cooling
P
T
Evaporator
Condenser
Qe
Qc
Absorber
Generator
Qa
Qg
Pump
Wp
Vapor
Vapor
Cooling tower
Cooling tower
Solar energy
Ammonia Liquid
Solution ammonia
Ammonia vapor
H2O + Ammonia

## Slide 40
Solar thermal technologies
Solar cooling
P
T
Evaporator
Condenser
Qe
Qc
Absorber
Generator
Qa
Qg
Pump
Wp
Vapor
Vapor
Cooling tower
Cooling tower
Solar energy
H2O + Ammonia
Compression
COP between 3 and 5
Absorption
COP between 0,5 and 1,2

## Slide 41
Solar thermal technologies
Solar cooling: Helioclim
Reversible solar air conditioning system
Absorption Machine
4°C, -18°C and -60°C
DHW
Air conditioning
Innovative
Storage…
Backup
Distribution
Absorbeur
Parabolic solar Collector

## Slide 42
Solar thermal technologies
Solar cooling
Cave de Banyuls (France), 1989
130 m2 solar collector,
52 kW
UW college (Singapore), 2012
3 900 m2 solar collector,
1575 kW

## Slide 43
Solar thermal technologies
2) Thermodynamic solar system
Conclusions and prospects

## Slide 44
Thermodynamic solar system
Sun radiation>heat->power
Why to concentrate?

## Slide 45
Thermodynamic solar system
Why concentrates the solar radiation ?
C = 1
Tabs= ?? °C
Very simplified case: S=1 m2 and h= 10 W.m-2.K-1
Solar radiation 1000 W.m-1 and Tamb= 20°C
C = 100
Tabs= ??°C
If a part of heat is use for power cycle
Si et C= 100; Tabs= ?? °C

## Slide 46
Thermodynamic solar system
Why concentrates the solar radiation ?
Focus on a point
Focus on a line
Moving absorber
Fixed absorber

## Slide 47
Thermodynamic solar system
Impact of optical properties

## Slide 48
Thermodynamic solar system
Impact of optical properties

## Slide 49
Thermodynamic solar system
Impact of optical properties

## Slide 50
Thermodynamic solar system
Impact of optical properties

## Slide 51
Thermodynamic solar system
Impact of optical properties

## Slide 52
Thermodynamic solar system
Impact of optical properties

## Slide 53
Thermodynamic solar system
Mechanical and thermal materials properties

## Slide 54
Thermodynamic solar system
Central receiver (solar tower)
Plane or slightly concave mirrors moving on two axes (azimuth and elevation)
Radiation concentrated at the top of the tower on the receiver
Concentration factor of approximately 1000
At the receiver the heat (up to 1000°C) is transfer to the HTF
  DSG
  Molten salt (HiTEC Solar salt)

## Slide 55
Thermodynamic solar system
Central receiver and DSG

## Slide 56
Thermodynamic solar system
Centrale receiver and DSG
PS 20 (Sevilla-Spain) – 2009
1 255 Heliostats (120 m2)
Tower 165 m heigh
Storage 1h
Rankine Cycle 20 MWe

## Slide 57
Thermodynamic solar system
Central receiver and molten salt

## Slide 58
Thermodynamic solar system
Central receiver and molten salt
1 818 Heliostats (39 m2) + 108 (95 m2)
Tower 90 m height and 6 m diameter
Receiver 800 suns: 43 MWth
Storage 2*1 400 tons of nitrates
Vaport production 35 MWth, 100 bars and 538 °C
Rankine cycle 10 Mwe
Cost = 46 M€ then 4,6/MWe
Solar Two (1995)

## Slide 59
Thermodynamic solar system
Central receiver summary
=> In 2015, 562 MW installed, hence 14%
R&D project in France
PEGASE (CNRS-PROMES)
-Pressurized air receiver combined to a gaz turbine (2MWe)

## Slide 60
Thermodynamic solar system
Dish Stirling (Parabolic reflector-moving receiver)
Concentration factor from 1000 to 3000 suns !
Parabolic reflector up to 400 m2
Two axes tracking
Stirling engine to generate power (250-700°C)
On the edge technology

## Slide 61
Thermodynamic solar system
Parabolic Through, PT :
Produce temperatures of about 450°C
Parabolic curved mirror north-south oriented
One axis tracking
Absorber tube runs along the focal line
HTF= usually thermal oil but sometimes molten salt or DSG
Concentration factor: 8-80

## Slide 62
Thermodynamic solar system
Parabolic Through, PT :
Andasol 1 (2008) :
50 MWe, 45 000 houses
7,5 h two tank storage
300 M€ hence 6M€/MWe
Electricity cost price 27 c€/kWh

## Slide 63
Thermodynamic solar system
Parabolic Through, PT :
Andasol 1 (2008) :
Solar field Tin=293°C; Tout=393°C
Solar field efficiency max. 70%, avg. 50%
Rankine cycle100 bar
Turbine max.40% , avg. 30%
Total max.28%, avg. 15%

## Slide 64
Thermodynamic solar system
Parabolic Through, PT :
SEGS, Mojave, California
World largest 354 MW
HTF, synthetic oil 400°C
Rankine cycle
Combined with Gaz
NOOR 1 => 170 MW
2+3 => nearly 600 MW

## Slide 65
Thermodynamic solar system
Parabolic Through, PT :
SEGS, California
In total, in 2015, 3 452 MW installed, therefore 85 % of the installed capacity (500 MW in construction in Morocco)

## Slide 66
Thermodynamic solar system
Compact Linear Fresnel Reflector, CLFR :
Up to 550°C
Concentration factor 10-200
Fixe absorber tube
Only slightly curved, flat mirrors

## Slide 67
Thermodynamic solar system
Centrale de Puerto Errado 2 – Spain
28 lines 940 m long
Temperature outlet of the solar field 270°C
Power cycle pressure 55 bar
Production 150 MWth and 30 Mwe
Storage ½ h

## Slide 68
Thermodynamic solar system
Compact Linear Fresnel Reflector, CLFR :
Advantages :
Absorber are fixed (less moving part-link at the end of the line) ,
The movements of mirrors, their designs and size and this their manufacturing are simplified. The wind resistance is greater.
Increases the temperature level (goal => DSG)
Disadvantages:
Lower maturity (but many R & D projects in progress).

## Slide 69
Thermodynamic solar system
Compact Linear Fresnel Reflector, CLFR :
- In total, 45 MW hence 1%
- Numerous R & D projects, even in France
Llo, 64, CNIM
9 Mwe, 3 hours storage
Construction has began in 2016

## Slide 70
Thermodynamic solar system
Opération, construction or in development in 2015

## Slide 71
Thermodynamic solar system

## Slide 72
Thermodynamic solar system

## Slide 73
Thermodynamic solar system
Conclusion and prospects

## Slide 74
Thermodynamic solar system
From International Energy Agency. Technology Roadmap. Solar heating and cooling 2012
500
600
Power plant

## Slide 75
Reference
Duffie, J.A., Beckman, W.A., 1991. Solar Engineering of Thermal Processes. Wiley.
Peuser, F.A., Remmers, K-H., Schnauss, M., « Installations Solaires thermiques, Conception et mise en oeuvre », Ed. Systèmes Solaires, 206, 403 pages
Weis W., Mauthner F., Solar Heat Worldwide, SHC programme de l’IEA, Edition 2015. http://www.iea-shc.org/solar-heat-worldwide
International Energy Agency. Solar thermal electricity 2015 https://www.iea.org/publications/freepublications/publication/TechnologyRoadmapSolarThermalElectricity_2014edition.pdf
International Energy Agency. Technology Roadmap. Solar heating and cooling 2012 http://www.iea.org/publications/freepublications/